## Instructions
APPENDIX D — WEATHERIZATION MEASURE UNIT PRICE WORKBOOK
Blue Water Community Action (BWCA) ¦ Continuous Request for Proposals (RFP) BWCA-WX-RFP-001 ¦ Final Public-Issuance Version
Purpose and Required Use
1 | Complete the Contractor Information sheet before entering prices.
2 | Use the Price Schedule to identify every measure in each requested trade category. Select Bid and enter prices for every applicable line. Select No Bid only for measures outside the requested trade categories.
3 | For each Bid line, enter separate labor and material unit prices. Enter 0.00 when one component has no charge; do not leave a required component blank.
4 | The Total Unit Price is calculated automatically. Prices must include all ordinary costs identified in Section 4.2 of the RFP. Enter 0.00 when either labor or material has no separate charge.
5 | Do not change Appendix Line IDs, source codes, trade categories, measure groups, units, descriptions, formulas, or worksheet structure.
6 | Use the Exceptions & Certification sheet for every requested deviation, qualification, alternate, or clarification.
7 | Return this workbook in its native Microsoft Excel format with the signed certification required by the RFP.
8 | A blank status, incomplete Bid line, No Bid within a requested trade category, altered controlled field, or undisclosed exception may make the affected category nonresponsive.
Trade Category Reference
A – Shell | Air sealing, insulation, doors, windows, attic/crawl measures and incidental shell work
B – Mechanical/HVAC | Heating, ventilation and air conditioning equipment, water heating and combustion-appliance work
C – Electrical | Electrical circuits, controls, devices and alarms
D – Plumbing | Approved plumbing, sump and water-heating connections
E – Ventilation | Whole-building and local ventilation, exhaust, ducting and terminations
F – Specialty | Lighting, approved appliances and specialty measures
C/E | A combined electrical and ventilation line may require appropriately licensed work or approved subcontracting

## Contractor Information
CONTRACTOR INFORMATION
Complete all applicable fields. Yellow cells are contractor-entry fields.
Business Information
Legal business name
Doing business as
Primary contact
Title
Email
Phone
Business address
City, state and ZIP code
Federal Employer Identification Number
Unique Entity Identifier, if applicable
System for Award Management status/expiration
Requested Trade Categories
A – Shell | Select
B – Mechanical/HVAC | Select
C – Electrical | Select
D – Plumbing | Select
E – Ventilation | Select
F – Specialty | Select
Proposal Control
RFP number | BWCA-WX-RFP-001
Applicable submission cutoff
Addenda acknowledged
Workbook prepared by
Preparation date

## Price Schedule
WEATHERIZATION MEASURE UNIT PRICE SCHEDULE
Enter data only in yellow cells. Use filters to review a trade category or measure group.
Measures in workbook |  | 150 |  | Measures marked Bid |  | 0 |  | Incomplete bid lines |  | 150
Appendix Line ID | Source Measure Code | Trade Category | Measure Group | Unit | Controlled Measure Description | Bid Status | Labor Unit Price | Material Unit Price | Total Unit Price | Completion Check | Contractor Notes
APPD-001 | Uncoded | F – Specialty | Lighting | each | LED Bulb - 8 watt (Replaces standard 40W, energy star rated, lead free, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-002 | Uncoded | F – Specialty | Lighting | each | LED Bulb - 10 watt (Replaces standard 60W, energy star rated, lead free, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-003 | Uncoded | F – Specialty | Lighting | each | LED Bulb - 13 watt (Replaces standard 75W, energy star rated, lead free, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-004 | Uncoded | F – Specialty | Lighting | each | LED Chandelier bulb- 5 watt (Replaces chandelier style 40W, energy star rated, lead free, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-005 | Uncoded | F – Specialty | Lighting | each | LED Bulb - 3-way (energy star rated, lead free, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-006 | Uncoded | F – Specialty | Lighting | each | LED Recess Conversion Fixture 10watt (Replaces standard 60W, energy star rated, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-007 | Uncoded | F – Specialty | Lighting | each | LED Bulb-13watt Flood light(Replaces standard 100W,energy star rated, daylight bulb) |  |  |  |  | SELECT STATUS
APPD-008 | H&S 200 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 200. ASHRAE-compliant replacement bath exhaust fan with light, 80–120 CFM variable-speed capability for continuous ventilation; includes moisture-control module, smart switch, rigid ductwork vented outdoors and insulation to R-8 where ductwork passes through unconditioned space. |  |  |  |  | SELECT STATUS
APPD-009 | H&S 201 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 201. ASHRAE-compliant replacement bath exhaust fan without light, 80–120 CFM variable-speed capability for continuous ventilation; includes moisture-control module, smart switch, rigid ductwork vented outdoors and insulation to R-8 where ductwork passes through unconditioned space. |  |  |  |  | SELECT STATUS
APPD-010 | H&S 202 | E – Ventilation | Health and Safety | each | H&S 202. ASHRAE In-line fan (includes venting to outside 15 ft) |  |  |  |  | SELECT STATUS
APPD-011 | H&S 203 | E – Ventilation | Health and Safety | each | H&S 203. ASHRAE Extend Ducting per 2 ft. |  |  |  |  | SELECT STATUS
APPD-012 | H&S 204 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 204. ASHRAE Run electrical source |  |  |  |  | SELECT STATUS
APPD-013 | H&S 205 | E – Ventilation | Health and Safety | each | H&S 205. Exhaust existing first-floor bath or kitchen fan through roof; includes flapper termination and insulated ductwork. |  |  |  |  | SELECT STATUS
APPD-014 | H&S 206 | E – Ventilation | Health and Safety | each | H&S 206. Exhaust existing second-floor bath or kitchen fan through roof; includes flapper termination and insulated ductwork. |  |  |  |  | SELECT STATUS
APPD-015 | H&S 207 | E – Ventilation | Health and Safety | each | H&S 207. ASHRAE-compliant replacement kitchen exhaust fan with light, 80–120 CFM variable-speed capability for continuous ventilation; includes rigid ductwork vented outdoors and insulation to R-8 where ductwork passes through unconditioned space. |  |  |  |  | SELECT STATUS
APPD-016 | H&S 208 | E – Ventilation | Health and Safety | each | H&S 208. ASHRAE-compliant replacement kitchen exhaust fan without light, 80–120 CFM variable-speed capability for continuous ventilation; includes rigid ductwork vented outdoors and insulation to R-8 where ductwork passes through unconditioned space. |  |  |  |  | SELECT STATUS
APPD-017 | H&S 209 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 209. Smart Switch |  |  |  |  | SELECT STATUS
APPD-018 | H&S 210 | E – Ventilation | Health and Safety | each | H&S 210. Dryer Vent Hood & Damper Only (Plastic/HD metal, non-louvered, w/clamps & caulk) |  |  |  |  | SELECT STATUS
APPD-019 | H&S 211 | E – Ventilation | Health and Safety | each | H&S 211. Dryer vent w/flex duct, 2 elbows, clamps - replace existing up to 8' (incl. caulking) |  |  |  |  | SELECT STATUS
APPD-020 | H&S 212 | E – Ventilation | Health and Safety | each | H&S 212. Dryer vent w/rigid duct, 2 elbows, clamps - replace existing up to 8' (incl. caulking) |  |  |  |  | SELECT STATUS
APPD-021 | H&S 213 | E – Ventilation | Health and Safety | each | H&S 213. Complete dryer vent with flexible or rigid metal ductwork; new opening through wood or band joist. |  |  |  |  | SELECT STATUS
APPD-022 | H&S 214 | E – Ventilation | Health and Safety | each | H&S 214. Complete dryer vent with flexible or rigid metal ductwork; new opening through brick or masonry. |  |  |  |  | SELECT STATUS
APPD-023 | H&S 215 | E – Ventilation | Health and Safety | each | H&S 215. Range Hood Vent for Mobile Homes (Air King) |  |  |  |  | SELECT STATUS
APPD-024 | H&S 216 | E – Ventilation | Health and Safety | 2 linear feet | H&S 216. Rigid Duct - 2 ft. sections |  |  |  |  | SELECT STATUS
APPD-025 | H&S 217 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 217. Smoke alarm listed to UL 217 or approved by the authority having jurisdiction; includes a 10-year manufacturer warranty and sealed, nonreplaceable battery. |  |  |  |  | SELECT STATUS
APPD-026 | H&S 218 | C/E – Electrical/Ventilation | Health and Safety | each | H&S 218. Carbon-monoxide alarm listed to UL 2034 or approved by the authority having jurisdiction; includes a 10-year manufacturer warranty and sealed, nonreplaceable battery. |  |  |  |  | SELECT STATUS
APPD-027 | H&S 219 | A – Shell | Health and Safety | square foot | H&S 219. 6-Mil Vapor Retarder in Vented & Non-Vented Spaces: |  |  |  |  | SELECT STATUS
APPD-028 | H&S 220 | A – Shell | Health and Safety | square foot | H&S 220. 6-Mil Vapor Retarder in Pier & Skirting Foundations: |  |  |  |  | SELECT STATUS
APPD-029 | H&S 221 | D – Plumbing | Health and Safety | each | H&S 221. Sump Pump/ Well Pit Radon Barrier Cover: Cover sump pump wells or pits with an airtight cover that allows for all necessary penetrations to be tightly sealed |  |  |  |  | SELECT STATUS
APPD-030 | H&S 222 | D – Plumbing | Health and Safety | each | H&S 222. Install New Sump Pump |  |  |  |  | SELECT STATUS
APPD-031 | H&S 223 | D – Plumbing | Health and Safety | each | H&S 223. Air Seal Existing Sump Pump Cover |  |  |  |  | SELECT STATUS
APPD-032 | Uncoded | E – Ventilation | Health and Safety | each | Balanced whole-building ventilation equipment, installed and commissioned in accordance with the approved work order, manufacturer instructions and applicable program standards. |  |  |  |  | SELECT STATUS
APPD-033 | Uncoded | C/E – Electrical/Ventilation | Health and Safety | each | First Floor New ASHRAE Compliant Bath Fan and Ducting to Outside w/ New Power Source and Smart Switch through brick/masonry. |  |  |  |  | SELECT STATUS
APPD-034 | Uncoded | C/E – Electrical/Ventilation | Health and Safety | each | First Floor New ASHRAE Compliant Bath Fan and Weatherized Ducting to Outside w/ New Power Source and Smart Switch through wood |  |  |  |  | SELECT STATUS
APPD-035 | Uncoded | C/E – Electrical/Ventilation | Health and Safety | each | Second Floor New ASHRAE Compliant Bath Fan and Weatherized Ducting to Outside w/ New Power Source and Smart Switch through brick/masonry |  |  |  |  | SELECT STATUS
APPD-036 | Uncoded | C/E – Electrical/Ventilation | Health and Safety | each | Second Floor New ASHRAE Compliant Bath Fan and Weatherized Ducting to Outside w/ New Power Source and Smart Switch through wood |  |  |  |  | SELECT STATUS
APPD-037 | H&S 224 | A – Shell | Lead-Safe Work | each | H&S 224. Lead Safe Work Doors & Windows |  |  |  |  | SELECT STATUS
APPD-038 | H&S 225 | A – Shell | Lead-Safe Work | 20 linear feet | H&S 225. Lead Safe Work 1-Story |  |  |  |  | SELECT STATUS
APPD-039 | H&S 226 | A – Shell | Lead-Safe Work | 20 linear feet | H&S 226. Lead Safe Work 2-Story |  |  |  |  | SELECT STATUS
APPD-040 | 284 | A – Shell | Duct Sealing and Insulation | each | 284. Plenum sealing ( No A-coil Remove furnace A-coil cover Seal w/ foil tape and mastic) |  |  |  |  | SELECT STATUS
APPD-041 | 285 | A – Shell | Duct Sealing and Insulation | each | 285. Plenum sealing ( A-coil present Seal from underside w/ skim coat 2 part spay foam) |  |  |  |  | SELECT STATUS
APPD-042 | 286 | A – Shell | Duct Sealing and Insulation | each | 286. Seal trunk line ends( Panning cut to fit inside trunkline placed 18" away from last duct, foil tape and mastic) |  |  |  |  | SELECT STATUS
APPD-043 | 287 | A – Shell | Duct Sealing and Insulation | each | 287. Duct repair (galvanized panning, screws,tape, mastic) |  |  |  |  | SELECT STATUS
APPD-044 | 288 | A – Shell | Duct Sealing and Insulation | per joint | 288. Duct - Reconnect/secure loose duct (per duct) |  |  |  |  | SELECT STATUS
APPD-045 | 289 | A – Shell | Duct Sealing and Insulation | per joint | 289. Duct - Secure and seal ducts with mastic (per joint) |  |  |  |  | SELECT STATUS
APPD-046 | 290 | A – Shell | Duct Sealing and Insulation | each | 290. Duct - Seal holes and seal seams with mastic |  |  |  |  | SELECT STATUS
APPD-047 | 291 | A – Shell | Duct Sealing and Insulation | each | 291. Duct - Seal boots to floor and duct w/mastic and foil tape |  |  |  |  | SELECT STATUS
APPD-048 | 292 | A – Shell | Duct Sealing and Insulation | each | 292. Duct - Replace/Rebuild Duct Boot: (layer foiltape, mastic, Fiber mesh tape on seams,joints.and holes) |  |  |  |  | SELECT STATUS
APPD-049 | 293 | A – Shell | Duct Sealing and Insulation | each | 293. Duct - Cut into belly and repair/seal duct then belly tape & staple (per spot) |  |  |  |  | SELECT STATUS
APPD-050 | 294 | A – Shell | Duct Sealing and Insulation | square foot | 294. Duct - Seal Belly Holes using Tyvek, furring strips, belly tape, staples |  |  |  |  | SELECT STATUS
APPD-051 | 295 | A – Shell | Duct Sealing and Insulation | square foot | 295. Duct - Full Belly Replacement: using Tyvek, furring strips, belly tape, staples |  |  |  |  | SELECT STATUS
APPD-052 | 296 | A – Shell | Duct Sealing and Insulation | each | 296. Duct - Install/Replace register with closable register |  |  |  |  | SELECT STATUS
APPD-053 | 297 | A – Shell | Duct Sealing and Insulation | square foot | 297. Duct - Insulate Duct in attic R-8 minimum |  |  |  |  | SELECT STATUS
APPD-054 | 317 | A – Shell | Miscellaneous Shell Measures | each | 317. Blower Door Guided Airsealing |  |  |  |  | SELECT STATUS
APPD-055 | 318 | A – Shell | Miscellaneous Shell Measures | each | 318. Trip Charge 1-1.5 hours from main office location |  |  |  |  | SELECT STATUS
APPD-056 | 319 | A – Shell | Miscellaneous Shell Measures | each | 319. Trip Charge 2+ hours from main office location |  |  |  |  | SELECT STATUS
APPD-057 | 323 | A – Shell | Miscellaneous Shell Measures | linear foot | 323. Remove Fiberglass Insulation from Sill Box |  |  |  |  | SELECT STATUS
APPD-058 | 275 | A – Shell | Attic Miscellaneous | each | 275. Attic- Dam knob & Tube |  |  |  |  | SELECT STATUS
APPD-059 | 276 | A – Shell | Attic Miscellaneous | each | 276. Attic-Drill/Lift boards to insulate & Air seal |  |  |  |  | SELECT STATUS
APPD-060 | 277 | A – Shell | Attic Miscellaneous | square foot | 277. Attic- Slash Vapor Barrier |  |  |  |  | SELECT STATUS
APPD-061 | 278 | A – Shell | Attic Miscellaneous | square foot | 278. Attic- Remove existing insulation & dispose |  |  |  |  | SELECT STATUS
APPD-062 | 279 | A – Shell | Attic Miscellaneous | each | 279. Attic- Access atic to insulate & seal back shut |  |  |  |  | SELECT STATUS
APPD-063 | 280 | A – Shell | Attic Miscellaneous | each | 280. Attic- Box normal attic access |  |  |  |  | SELECT STATUS
APPD-064 | 281 | A – Shell | Attic Miscellaneous | each | 281. Attic- Chimney Damming (balloon plus high visabilty signage) |  |  |  |  | SELECT STATUS
APPD-065 | 227 | A – Shell | Doors | each | 227. Rebuild basement bulkhead door (w/treated lumber) |  |  |  |  | SELECT STATUS
APPD-066 | 228 | A – Shell | Doors | each | 228. Water Heater Replacement (manufactured) Door, includes clips |  |  |  |  | SELECT STATUS
APPD-067 | 230 | A – Shell | Doors | each | 230. Windbuster Weather Strip |  |  |  |  | SELECT STATUS
APPD-068 | 231 | A – Shell | Doors | each | 231. Door Bottom Threshold |  |  |  |  | SELECT STATUS
APPD-069 | 232 | A – Shell | Doors | each | 232. Door sweep (aluminum weather-strip w/Silicone Flap and caulk) |  |  |  |  | SELECT STATUS
APPD-070 | 233 | A – Shell | Doors | each | 233. Replace lockset |  |  |  |  | SELECT STATUS
APPD-071 | 234 | A – Shell | Doors | each | 234. Replace deadbolt |  |  |  |  | SELECT STATUS
APPD-072 | 235 | A – Shell | Doors | each | 235. Replace lockset w/ deadbolt combo |  |  |  |  | SELECT STATUS
APPD-073 | 236 | A – Shell | Doors | each | 236. Replace Door Sill w/ Treated Lumber |  |  |  |  | SELECT STATUS
APPD-074 | 237 | A – Shell | Doors | each | 237. Replace storm door handle and latch |  |  |  |  | SELECT STATUS
APPD-075 | 238 | A – Shell | Doors | each | 238. Replace Storm Door Pump |  |  |  |  | SELECT STATUS
APPD-076 | 239 | A – Shell | Doors | each | 239. Replace storm door wind chain |  |  |  |  | SELECT STATUS
APPD-077 | 240 | A – Shell | Doors | each | 240. Replace storm door closure |  |  |  |  | SELECT STATUS
APPD-078 | 241 | A – Shell | Doors | each | 241. LMISC- Mobile Home Outswing Door Replacement |  |  |  |  | SELECT STATUS
APPD-079 | 242 | A – Shell | Windows | square inch | 242. Broken glass replacement, includes points & glazing |  |  |  |  | SELECT STATUS
APPD-080 | 243 | A – Shell | Windows | linear foot | 243. Glaze single pane window, clean, point & glaze |  |  |  |  | SELECT STATUS
APPD-081 | 244 | A – Shell | Windows | each | 244. Remove Window A/C |  |  |  |  | SELECT STATUS
APPD-082 | 245 | A – Shell | Windows | each | 245. Replace Window Sill |  |  |  |  | SELECT STATUS
APPD-083 | 246 | A – Shell | Windows | pair | 246. Install Pully Covers |  |  |  |  | SELECT STATUS
APPD-084 | 247 | A – Shell | Windows | each | 247. Install Sash Locks |  |  |  |  | SELECT STATUS
APPD-085 | 248 | A – Shell | Windows | square foot | 248. Board Over Basement Window w/ treated plywood & caulk |  |  |  |  | SELECT STATUS
APPD-086 | 250 | A – Shell | Windows | each | 250. Interior storm window - single pane insert type, includes turn buttons, caulk trim - over 100 UI |  |  |  |  | SELECT STATUS
APPD-087 | 251 | A – Shell | Windows | each | 251. House exterior storm window - single pane, includes clips, caulk trim - under 100 UI |  |  |  |  | SELECT STATUS
APPD-088 | 252 | A – Shell | Windows | each | 252. House exterior storm window - single pane, includes clips, caulk trim - over 100 UI |  |  |  |  | SELECT STATUS
APPD-089 | 253 | A – Shell | Windows | each | 253. Prime Window - Vinyl, insul glass, white, double hung-Complete - Under 100 United inches |  |  |  |  | SELECT STATUS
APPD-090 | 254 | A – Shell | Windows | each | 254. Prime Window - Vinyl, insul glass, white, double hung-Complete - over 100 United inches |  |  |  |  | SELECT STATUS
APPD-091 | 255 | A – Shell | Attic Venting | each | 255. AV- Install 60 or 77 sq in NFA Slant Back Roof Vent |  |  |  |  | SELECT STATUS
APPD-092 | 256 | A – Shell | Attic Venting | each | 256. AV- Replace existing roof Vent - install 60 or 77 sq in NFA |  |  |  |  | SELECT STATUS
APPD-093 | 257 | A – Shell | Attic Venting | each | 257. AV-(Attic Venting) - cut opening in aluminum or vinyl and install standard size vent in other siding |  |  |  |  | SELECT STATUS
APPD-094 | 258 | A – Shell | Attic Venting | each | 258. AV-(Attic Venting) - Replace existing standard size gable vent |  |  |  |  | SELECT STATUS
APPD-095 | 259 | A – Shell | Attic Venting | each | 259. AV-(Attic Venting) - Install soffit vent - one story 8" X 16" or 4" X 16" New |  |  |  |  | SELECT STATUS
APPD-096 | 260 | A – Shell | Attic Venting | each | 260. AV-(Attic Venting) - Install soffit vent - 8" X 16" or 4" X 16" existing |  |  |  |  | SELECT STATUS
APPD-097 | 261 | A – Shell | Attic Venting | each | 261. AV-(Attic Venting) - Install soffit chute 16" or 24" |  |  |  |  | SELECT STATUS
APPD-098 | 262 | A – Shell | Attic Air Sealing | linear foot | 262. Bottom of Slopes |  |  |  |  | SELECT STATUS
APPD-099 | 263 | A – Shell | Attic Air Sealing | linear foot | 263. Under Knee Wall |  |  |  |  | SELECT STATUS
APPD-100 | 264 | A – Shell | Attic Air Sealing | linear foot | 264. Balloon Framing |  |  |  |  | SELECT STATUS
APPD-101 | 265 | A – Shell | Attic Air Sealing | per 15 minutes | 265. Attic floor air sealing (includes chimney damming & materials) |  |  |  |  | SELECT STATUS
APPD-102 | 266 | A – Shell | Attic Air Sealing | each | 266. Box whole house fan and lid (8" foamboard lid & handle) foam joints and at floor |  |  |  |  | SELECT STATUS
APPD-103 | 267 | A – Shell | Attic Air Sealing | each | 267. Box pulldown stairs and lid (8" foamboard lid,handle,windbuster) foam joints and at floor |  |  |  |  | SELECT STATUS
APPD-104 | 268 | A – Shell | Attic Air Sealing | each | 268. Wx attic normal attic access (handle, windbuster, foamboard, secure and caulk trim) |  |  |  |  | SELECT STATUS
APPD-105 | 269 | A – Shell | Attic Air Sealing | each | 269. New attic access cover (1/2" plywood not warped) |  |  |  |  | SELECT STATUS
APPD-106 | 270 | A – Shell | Attic Air Sealing | each | 270. New attic access (includes cutting opening, frame, cover & wx attic access) |  |  |  |  | SELECT STATUS
APPD-107 | 271 | A – Shell | Attic Air Sealing | each | 271. New kneewall access cover |  |  |  |  | SELECT STATUS
APPD-108 | 272 | A – Shell | Attic Air Sealing | each | 272. New kneewall access (includes cutting new opening,frame,cover&wx kneewall access, hinge) |  |  |  |  | SELECT STATUS
APPD-109 | 273 | A – Shell | Attic Air Sealing | each | 273. Weatherize Kneewall Access - hinges, barrel bolts, windbuster, foamboard pillow, seal trim |  |  |  |  | SELECT STATUS
APPD-110 | 274 | A – Shell | Attic Air Sealing | each | 274. Seal Can Lights - (make box from drywall, foam joints and at floor or commercial ones) |  |  |  |  | SELECT STATUS
APPD-111 | 298 | A – Shell | Crawl Space and Basement Air Sealing | each | 298. New Crawl Access-3/4 Treated plywood,2x8 treated frame (includes WX crawl access) |  |  |  |  | SELECT STATUS
APPD-112 | 299 | A – Shell | Crawl Space and Basement Air Sealing | each | 299. WX Crawl Access - barrel bolts, windbuster, 2" foamboard pillow |  |  |  |  | SELECT STATUS
APPD-113 | 300 | A – Shell | Crawl Space and Basement Air Sealing | each | 300. New Crawl Access Cover - 3/4 Treated (includes WX crawl access) |  |  |  |  | SELECT STATUS
APPD-114 | 301 | A – Shell | Crawl Space and Basement Air Sealing | each | 301. Seal crawl/basement ceiling openings-(includes materials) |  |  |  |  | SELECT STATUS
APPD-115 | 302 | A – Shell | General Air Sealing and Incidental Repair | linear foot | 302. Caulk |  |  |  |  | SELECT STATUS
APPD-116 | 303 | A – Shell | General Air Sealing and Incidental Repair | linear foot | 303. Caulking - remove old and apply new caulk |  |  |  |  | SELECT STATUS
APPD-117 | 304 | A – Shell | General Air Sealing and Incidental Repair | square foot | 304. 2-Part Spray Foam for Air Sealing - 1" Thickness |  |  |  |  | SELECT STATUS
APPD-118 | 305 | A – Shell | General Air Sealing and Incidental Repair | per 24-ounce can | 305. Air Seal with small cans of foam sealant |  |  |  |  | SELECT STATUS
APPD-119 | 306 | A – Shell | General Air Sealing and Incidental Repair | each | 306. Repair Wall/Ceiling - 4 sq ft or less per area |  |  |  |  | SELECT STATUS
APPD-120 | 307 | A – Shell | General Air Sealing and Incidental Repair | each | 307. Patching Holes - each area |  |  |  |  | SELECT STATUS
APPD-121 | 308 | A – Shell | General Air Sealing and Incidental Repair | linear foot | 308. High-Temp Caulk |  |  |  |  | SELECT STATUS
APPD-122 | 309 | A – Shell | General Air Sealing and Incidental Repair | square foot | 309. Drywall Walls- Includes drywall, tape, one coat of mud |  |  |  |  | SELECT STATUS
APPD-123 | 310 | A – Shell | General Air Sealing and Incidental Repair | square foot | 310. Drywall Ceilings- Includes drywall, tape, one coat of mud |  |  |  |  | SELECT STATUS
APPD-124 | 312 | A – Shell | General Air Sealing and Incidental Repair | each | 312. Flash flue collar at ceiling and caulk |  |  |  |  | SELECT STATUS
APPD-125 | 313 | A – Shell | General Air Sealing and Incidental Repair | each | 313. Install air conditioning cover |  |  |  |  | SELECT STATUS
APPD-126 | 314 | A – Shell | General Air Sealing and Incidental Repair | square foot | 314. Install 3/4" foamboard |  |  |  |  | SELECT STATUS
APPD-127 | 315 | A – Shell | General Air Sealing and Incidental Repair | each | 315. Electrical outlet cover with gasket |  |  |  |  | SELECT STATUS
APPD-128 | 316 | A – Shell | General Air Sealing and Incidental Repair | each | 316. DC-15 Intumecent Coating |  |  |  |  | SELECT STATUS
APPD-129 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Duct - New supply/return air ducts |  |  |  |  | SELECT STATUS
APPD-130 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Programmable Thermostat |  |  |  |  | SELECT STATUS
APPD-131 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Optional - Furnace/Water Heater Repair |  |  |  |  | SELECT STATUS
APPD-132 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Clean and Tune Furnace - Gas |  |  |  |  | SELECT STATUS
APPD-133 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Misc - Chimney Liner |  |  |  |  | SELECT STATUS
APPD-134 | Uncoded | B – Mechanical/HVAC | Mechanical | each | H&S - Furnace Filter Cover |  |  |  |  | SELECT STATUS
APPD-135 | Uncoded | B – Mechanical/HVAC | Mechanical | each | H&S - Gas Leak Repair |  |  |  |  | SELECT STATUS
APPD-136 | Uncoded | B – Mechanical/HVAC | Mechanical | each | New furnace - 80% - average |  |  |  |  | SELECT STATUS
APPD-137 | Uncoded | B – Mechanical/HVAC | Mechanical | each | New Furnace - 95+% - average |  |  |  |  | SELECT STATUS
APPD-138 | Uncoded | B – Mechanical/HVAC | Mechanical | each | New Furnace - 95+% - average Mobile Home |  |  |  |  | SELECT STATUS
APPD-139 | Uncoded | B – Mechanical/HVAC | Mechanical | each | New Boiler - 95+% - average |  |  |  |  | SELECT STATUS
APPD-140 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Power-vent 30-gallon natural-gas water heater; provide manufacturer, model number, burner input, Uniform Energy Factor and manufacturer-rated First Hour Rating with the bid. |  |  |  |  | SELECT STATUS
APPD-141 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Power-vent 40-gallon natural-gas water heater; minimum First Hour Rating of 67 gallons. Provide manufacturer, model number, burner input, Uniform Energy Factor and manufacturer-rated First Hour Rating with the bid. |  |  |  |  | SELECT STATUS
APPD-142 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Power-vent 50-gallon natural-gas water heater; provide manufacturer, model number, burner input, Uniform Energy Factor and manufacturer-rated First Hour Rating with the bid. |  |  |  |  | SELECT STATUS
APPD-143 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Tankless Water Heater (gas) |  |  |  |  | SELECT STATUS
APPD-144 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Closed System Sealed Combustion 30 gal tank type DHW - Mobile (gas) |  |  |  |  | SELECT STATUS
APPD-145 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Closed System Sealed Combustion 40 gal tank type DHW - Mobile (gas) |  |  |  |  | SELECT STATUS
APPD-146 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Standard 40 gal tank type DHW (electric) |  |  |  |  | SELECT STATUS
APPD-147 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Standard 50 gal tank type DHW (electric) |  |  |  |  | SELECT STATUS
APPD-148 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Tankless Water Heater (electric) |  |  |  |  | SELECT STATUS
APPD-149 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Furnace Filter Replacement |  |  |  |  | SELECT STATUS
APPD-150 | Uncoded | B – Mechanical/HVAC | Mechanical | each | Safety Inspection of Combustion Appliance |  |  |  |  | SELECT STATUS

## Exceptions & Certification
EXCEPTIONS, DISCLOSURES AND CERTIFICATION
List every requested exception, alternate, qualification, clarification, or deviation. Add rows if necessary.
Exceptions and Clarifications
Appendix Line ID | Source Measure Code | Exception Type | Requested Exception or Clarification | Reason | Cost/Schedule Impact
Contractor Certification
By signing, the proposer certifies that this workbook and the associated proposal are accurate, independently prepared, valid for 120 calendar days from the applicable submission cutoff, and submitted without collusion; that the signer has authority to bind the proposer; that all applicable measures within each requested trade category are marked Bid and priced; that prices include the ordinary costs required by the RFP; that the proposer agrees to Method 1 agency-average pricing; and that all known conflicts of interest, exclusions, exceptions, qualifications, alternates and proposed deviations have been fully disclosed.
Legal business name
Authorized signer
Title
Signature
Date